SPECIAL CONDITIONS

A.  SCOPE.  These Special Conditions amend or supplement the Technical Specifications and other provisions of the Contract Documents as indicated herein.  All provisions which are not so amended or supplemented remain in full force and effect.

(Specifier.  Included below are items which need to be		)

(reviewed for each project.  In some cases, suggested para-	)

(graphs are included for certain conditions.  The specifier		)

(must edit, delete, or add to this section as required.		)

B.  SUPPLEMENTARY CONDITIONS.  Add the following paragraphs to Supplementary Conditions section:

(Specifier.  In the following paragraph, identify the 		)

(subsurface information used by Engineer in the preparation	)

(of the Contract Documents and identify what is considered	)

(technical data.  It is helpful if geotechnical reports are	)

(published in separate volumes which divide technical data	)

(from interpretation, comments, and other data.		)

( 											)

(Paragraph 4.02.A of the General Conditions requires that	)

(reports and drawings of subsurface and physical conditions	)

(be identified in the Supplementary Conditions.  Edit the	)

(following paragraphs to match the specific project.		)

SC-4.02.  Subsurface and Physical Conditions.

A.	Reports and Drawings.

1.	Delete Paragraph 4.02.A.1 of the General Conditions and add the following:

1.	No reports of explorations and tests of subsurface conditions at or contiguous to the site have been prepared.

1.	Add the following new paragraph(s) immediately after Paragraph 4.02.A.1 of the General Conditions:

1.	In preparation of the Contract Documents, the following reports of explorations and tests of subsurface conditions at the site of the Work were used:

a.	Report dated ______________________________,

prepared by _______________________________,

titled “___________________________________”.

The report shall be considered technical data upon 	which Contractor may rely.

b.	Report dated ______________________________,

prepared by _______________________________,

titled “___________________________________”.

The report shall be considered technical data upon which Contractor may rely.

(Specifier.  Include the following paragraph if there is		)

(geotechnical data.  Modify the paragraph to fit the			)

(conditions or write an equivalent paragraph.  Be certain		)

(that no information or data is withheld.					)

(												)

(Locations of all test holes relative to structures should		)

(be provided to Contractor and generally are indicated		)

(on the Drawings.  If the locations of the test holes will		)

(not be indicated on the Drawings, delete the last sentence	)

(and add a sentence explaining where the information will be	)

(indicated.											)

Test holes have been made along the route of the pipeline.  The locations of test holes are indicated on the Drawings.

Samples taken from bore holes are available for inspection at _________________________________ upon 48 hours' notice to Owner.

(Specifier.  In the following paragraph, identify the			)

(physical condition information [existing drawings] used by	)

(Engineer in the preparation of the Contract Documents and	)

(identify what is considered technical data.  Include the		)

(project name, the name of the professional who prepared the	)

(drawings, and the title on the drawings and their status,		)

(such as record drawings or bid issue drawings.  Edit the		)

(following paragraphs to match the specific project.			)

2.	Delete Paragraph 4.02.A.2 of the General Conditions and add the following:

2.	No drawings of physical conditions in or relating to existing surface or subsurface structures at or contiguous to the site are available.

2.	Add the following new paragraphs immediately after Paragraph 4.02.A.2 of the General Conditions:

In preparation of the Contract Documents, the following drawings of physical conditions in or relating to existing surface and subsurface structures (except underground facilities) which are at or contiguous to the site of the Work were relied upon:

a.	Drawings dated ___________________________, 20___

prepared by ___________________________________,

titled “________________________________________”,

consisting of _____ sheets, numbered ______ to ______,

inclusive.  All of the information in such drawings constitute technical data on which Contractor may rely, except ___________________________________

appearing on Drawing No. _______ and _______

appearing on Drawing No. _______.

b.	Drawings dated ___________________________, 20___

prepared by ___________________________________,

titled “________________________________________”,

consisting of _____ sheets, numbered ______ to ______,

inclusive.  All of the information in such drawings constitute technical data on which Contractor may rely, except ___________________________________

appearing on Drawing No. _______ and _______

appearing on Drawing No. _______.

The report shall be considered technical data upon which Contractor may rely.

(Specifier.  If drawings of physical conditions are available

(for review, add the following paragraph with the location of	)

(the drawings.  Be certain that all drawings of physical 		)

(conditions pertinent to the Work are made available to		)

(Contractor.										)

Drawings of physical conditions in or relating to existing surface and subsurface	structures (except underground facilities) are available for review at ______________________________________, upon 48 hours' notice to Owner.

(Specifier.  If reports of subsurface explorations and tests 	)

(and drawings of physical conditions are listed herein,		)

(General Conditions Paragraph 4.02.B allows Contractor to	)

(rely on the technical data in such reports and drawings.		)

(												)

(Ordinarily, Contractor should be able to rely on such		)

(information to the same extent as the designer.			)

(												)

(When Contractor is allowed to rely upon the accuracy of		)

(geotechnical data, a soils report, including boring logs		)

(and results of field and laboratory tests, should be bound	)

(as a separate volume and issued with each complete set of	)

(Specifications.  Contractor may rely on only the technical	)

(data identified in these Supplementary Conditions.			)

(Use the following paragraph if the Contractor is not 			)

(authorized to rely on technical data contained in physical		)

(conditions drawings listed in Paragraph SC-4.02.A.2.  Delete	)

(the paragraph if there are no physical conditions drawings.	)

B.	Limited Reliance by Contractor on Technical Data Authorized.  Delete Paragraph 4.02.B of the General Conditions in its entirely and insert the following paragraph:

B.	No Reliance by Contractor Authorized.  Owner and Engineer do not warrant the accuracy of the physical conditions information and drawings which are not Contract Documents.  Contractor uses such information at Contractor’s sole risk.

GENERAL NOTES FOR SPECIFIER:  Have person responsible for legal and insurance issues review all front-end documents.

C.  Section 01015 - PROJECT REQUIREMENTS

(Specifier.  Use the following paragraph where sizable		)

(amounts of pipeline materials are furnished.  Insert a brief	)

(description of pipe and specials to be furnished by Owner,	)

(including laying length, wall thickness, weight per linear		)

(foot, and weight per piece of each kind and size of pipe 		)

(covered by the Bid.									)

(Indicate the delivery time or availability of the delivery		)

(schedule for all items.								)

(Delete inapplicable portions of the text and supplement as	)

(necessary.										)

1.  PIPELINE MATERIALS TO BE FURNISHED BY OWNER.  Materials shall be furnished by Owner for installation by Contractor as follows:

1.01.  Pipe.

Delivery of pipe will be made as follows:

a.	Cast Iron.  Cast iron pipe will be delivered by truck to the jobsite at ________________________________________________.

b.	PVC Pipe.  PVC pipe will be delivered by truck to the jobsite	at ________________________________________________.

1.02.  Pipe Jointing Materials.  The following jointing materials and specials will be furnished by Owner to the jobsite, if not included in truck deliveries of pipe:

a.	For Cast Iron Pipe.  Bolts, gaskets, and follower rings for all mechanical joints on pipe and fittings.  Gaskets and gasket lubricants for push-on joint pipe and fittings.

b.	For Concrete Pipe.  Rubber gaskets for joints between concrete piping units and necessary adapter fittings for connections with other types of pipe or fittings and with valves.

Mechanical couplings, flange bolts and gaskets, and other necessary jointing materials shall be provided by Contractor.

1.03.  Valves.  All valves and accessories therefor will be furnished at the jobsite at ___________________________________________________.

1.04.  Installation Data.  Installation drawings, laying schedules, and other installation information from the pipe manufacturer will be submitted to Contractor prior to pipe delivery.

2.  RESPONSIBILITY FOR MATERIALS AND EQUIPMENT.

2.01.  Items Furnished by Owner.  Contractor's responsibility for materials furnished by Owner shall begin at the point of delivery on acceptance by Contractor.  Contractor shall carefully examine each shipment prior to acceptance and shall reject all defective items.  Owner reserves the right, however, to accept items rejected by Contractor and to authorize their installation in the Work.

Defective materials discovered after installation and prior to final acceptance of the Work, where the defect is of a nature not detectable by visual examination and other appropriate field inspection methods, shall be replaced by Owner, together with such additional materials and supplies as may be necessary for their replacement.  Contractor shall furnish all necessary tools, equipment, and appliances, and perform all necessary labor, for the removal and replacement of such defective items in a manner acceptable to Engineer; adjustment to the Contract Price for the costs of the removal and replacement shall be made in accordance with Article 11 of the General Conditions.

All materials furnished by Owner which disappear or are damaged after their acceptance by Contractor shall be replaced by and at the expense of Contractor.  Replacements shall conform to the original procurement specifications.

Scheduled delivery dates for equipment and materials to be furnished by Owner are as follows: ________________________________________.

__________________________________________________________.

Contractor shall accept the risk of any delay in delivery of materials furnished by Owner, and if the Work is delayed, he shall have no claim for damages or contract adjustment other than an extension of time and the waiving of liquidated damages occasioned by the delay.

D.	Section 01025 - MEASUREMENT AND PAYMENT

1.  The standard specification classifies all excavated material.  If rock excavation is to be unclassified, replace Item 23 with the following:

No separate payment shall be made for rock excavation.  Excavation and trenching work shall include the removal and subsequent handling of all materials excavated or otherwise removed in performance of the contract Work, regardless of the type, character, composition, or condition thereof.

2.  Review items listed in this section.  If these are bid items included on the Bid Form that do not appear in this section, a description of the item and the pay limits must be added here.

E.	Section 02200 - EARTHWORK

1.  Check pipe embedment classes.

2.  The standard specifications indicate that rock is classified.  If rock excavation is unclassified, delete Paragraph 4 of Section 02200 - EARTHWORK and insert the following:

"4.  CLASSIFICATION OF EXCAVATED MATERIALS.  No classification of excavated materials will be made.  Excavation and trenching work shall include the removal and subsequent handling of all materials excavated or otherwise removed in performance of the contract Work, regardless of the type, character, composition, or condition thereof.

F.	Section 02210 - WORK IN NORTH CAROLINA DEPARTMENT OF TRANSPORTATION RIGHTS-OF-WAY

1.  Incorporate Encroachment Special Conditions or attach copy of Encroachment Special Conditions.

G.	Section 02220 - WORK IN RAILROAD RIGHTS-OF-WAY

1.  Incorporate Encroachment Special Conditions or attach copy of Encroachment Special Conditions.

H.	Section 02605 - SEWER MANHOLES

1.  Consider deleting requirements for sewer manhole and covers certification for small projects.

I.	Section 02620 - DUCTILE IRON PIPE

1.  Specify if polyethylene tube encasement is required.

J.	Section 02630 - 6 INCH TO 12 INCH POLYVINYL CHLORIDE (PVC) PRESSURE PIPE

1.  Specify if polyethylene tube encasement is required.

K.	Section 02703 - WATER SERVICE AND METERS

1.  Define who provides meters.

L.	Section 02704 - PIPELINE PRESSURE AND LEAKAGE TESTING, CLEANING AND DISINFECTION

1.  This section indicates Owner will take all bacterial test sampling.

M.	Section 02800 - PIERS

1.  Concrete and steel piers must be designed and detailed in drawings by Engineers.

N.	Section 15101 - BUTTERFLY VALVES

1.  Valves and actuators specified in Butterfly Valve Table are for manually actuated valves, 150 psi pressure, and 8 feet per second velocity.  Edit if actual pressure or velocity is higher.  Edit if any type actuator other than manual is used.

O.	Section 15102 -  ECCENTRIC PLUG VALVES

1.  Complete table in plug valve schedule.

GENERAL NOTE

1.  You must specify in the Special Conditions section which types of pipe will be allowed for each project.  Concrete, PVC, and ductile iron pipe are specified for sewer lines, and PVC and ductile iron pipe are specified for water lines.

# End of Section