# Section 02940 – ABANDONMENT OF WELLS

- SCOPE.   This section covers the abandonment of wells.

2.   GENERAL.   All wells which are indicated on the Drawings to be abandoned shall be abandoned according to the Regulations Governing Construction, Repair, and Abandonment of Wells in Cabarrus County, North Carolina, which is available from the Cabarrus County Health Alliance, 1307 S. Cannon Blvd., Kannapolis, North Carolina 28083.

## End of Section